## Sheet1
Cost breakdown for supply and installation of Fiber Glass Tanks
# | Item | Unit | Quantity | Unit cost | Total Cost
Supply and Installation of the Fiber glass rainwater harvesting tanks
1 | 3m3 fiber glass water tank as per the specifications | Pce | 1500
Installation of Fiber glass rainwater harvesting tank
2 | Preliminaries (site installation, site evacuation and insurances) per site. | LS | 1500
3 | Excavation for foundations and drainage. | LS | 1500
4 | Base Foundation in Stone masonry (mortar 1:4 in volume) and the related drainage away from the water tank base. The stand shall allow the users to fetch water easily with a Jerrican | CM | 7050
5 | Base Foundation in Stone masonry (mortar 1:4 in volume) and the related drainage away from the water tank base. The stand shall allow the users to fetch water easily with a Jerrican | CM | 11100
6 | Base Foundation in Stone masonry (mortar 1:4 in volume) and the related drainage away from the water tank base. The stand shall allow the users to fetch water easily with a Jerrican | CM | 16500
7 | Metallic gutter: steel plate 1mm thick, 8cm*12cm*15cm cross-section with required supports on the roof structure | m | 27000
8 | Supply and install Inlet110mm PVC, PN10 pipes with accessories (joints, clippings, couplings, holder bats, plugins, reducers, spacers, elbows,…) | m | 15000
9 | Supply and Install overflow 110mm, PN10 in PVC pipes with all accessories (joints, clippings, couplings, holder bats, plugins, reducers, spacers, elbows,..) | m | 6000
10 | Supply and connect ¾ PPR Grey drain and fetching pipes | m | 1500
11 | Supply and install a water tap 3/4 on the water tank | Pce | 1500
12 | Support in 40x60x1.5mm steel hollow sections | m | 4500
13 | Support in 40x40x1.5mm steel hollow sections | m | 4500
14 | Supply and Installation of support in 40x40 mm timber sections | m | 4500
15 | Install the wire mesh-gravel-charcoal sand filtration complete system on the top of the water tank. The recipient of the filter should be well supported and with enough capacity to avoid water return in the gutter | Pce | 1500
16 | Provision of a well-protected soak pit 1m diameter and 4m deep filled with stones | Pce | 1500
Taxes (18%)
Total
Note:
Ø Prices to be quoted by the supplier in the price schedule must include the costs of supplying the tank, transport costs, costs of installation and costs of related accessories.
Ø The tanks will be supplied and installed at each selected household within the FIP-PRODAR project’s designated areas (Kamonyi, Muhanga, Ruhango, Nyanza, Huye, Gisagara, Nyaruguru, and Gakenke).